# Integrated Laboratory Protocols for Wheat Rhizosphere Experiments

DMA and Fe-chelating activity • Soil carbonate • Potential nitrification • Potential denitrification • Porewater nitrate/nitrite • Fe fractionation

Working SOP compendium for the Adnan Munawar and Muhammad Amir Hanif PhD projects

This document combines the protocols supplied for potential nitrification, potential denitrification, porewater nitrate/nitrite and Fe extractions with the literature-supported working protocols developed for wheat root-exudate DMA/Fe-chelating activity and soil carbonate measurement.

IMPORTANT - This is a research working document, not a substitute for the host laboratory's approved SOPs, risk assessments, SDS documents, instrument methods or waste-disposal rules. Source-supported details are retained. Where the supplied protocols contain an internal inconsistency or omit a necessary analytical step, the issue is flagged rather than silently corrected.

# 1. What is included

Wheat root-exudate collection for targeted 2'-deoxymugineic acid (DMA).

Total Fe-chelating activity by a Chrome Azurol S (CAS) microplate assay.

Total soil carbonate as CaCO3 equivalent by calcimeter.

Potential nitrification assay with chlorate inhibition and nitrite colorimetry.

Potential denitrification assay using substrate addition, He purging and acetylene inhibition.

Porewater nitrate + nitrite by vanadium(III) reduction and Griess chemistry.

Fe extraction suite: 0.5 M HCl/ferrozine, citrate-dithionite, citrate-ascorbate, ammonium oxalate, DI-water DOC extraction and 2 M KCl inorganic-N extraction.

# 2. Critical validation points before any experiment

1. Citrate-dithionite: the supplied Fe SOP heading states 0.02 M sodium citrate + 0.0029 M sodium dithionite, but the recipe later states 6 g sodium citrate + 0.5 g sodium dithionite per 30 mL. Those are not equivalent. Do not run this extraction until the host lab reconciles the intended recipe with its approved SOP/original method.

2. Citrate-ascorbate: the supplied SOP states that 1 g soil + 45 mL extractant gives a ~1:30 soil:solution ratio. Numerically this is 1:45 (w/v). Confirm whether the intended volume is 30 mL or 45 mL before use.

3. Ferrozine Fe standards: the supplied SOP gives a 3 mM preparation example but later describes an assay series ending at 2 mM. Confirm whether the upper standard is 2 or 3 mM. If 2 mM is intended from a 20 mM stock in a 50 mL flask, the required stock volume would be 5.0 mL; this calculated value is not stated in the source SOP.

4. Potential denitrification: the source protocol describes gas sampling but does not provide the N2O analytical instrument method, calibration, dissolved-N2O correction or rate calculation. A validated N2O analysis SOP is required before the assay is fully quantitative.

5. Potential nitrification: the source protocol does not specify a complete rate-calculation formula or dry-mass correction, and the storage duration of the 10 µg NO2-N mL^-1 working standard is left incomplete. Define these locally before starting the full experiment.

6. Porewater nitrate/nitrite: the supplied protocol gives reagent composition, sample:reagent ratios and the 540 nm readout, but not a nitrate standard-series preparation. A matrix-appropriate validated calibration is required.

7. DI-water and 2 M KCl Fe-SOP extractions use fixed 'fresh soil = dry soil equivalent' statements that imply ~50% water content. For new samples, determine gravimetric moisture and calculate the true dry-soil equivalent instead of assuming it.

8. The ammonium-oxalate source SOP includes HCl fumigation before extraction. Because this is a source-specific modification and acid exposure can potentially alter mineral phases, confirm that this pretreatment is intended for your analytical objective before use.

9. The supplied Fe SOP has incomplete waste-disposal and decontamination sections. Local institutional procedures must be added before laboratory use.

# 3. Shared laboratory requirements

## Core equipment

Analytical balance (milligram readability for reagent preparation; suitable larger-capacity balance for soil masses).

Adjustable micropipettes covering approximately 20-1000 µL, plus 5-10 mL pipetting capacity or serological pipettes.

Volumetric flasks: 25, 50, 100, 200/250, 500 and 1000 mL as required.

pH meter with calibrated electrode.

Orbital or rotary shaker with suitable racks.

Bench vortex mixer.

Centrifuge capable of accepting 50 mL tubes and operating at the source-method settings.

UV-Vis spectrophotometer capable of 520, 540 and 562 nm.

Microplate reader capable of approximately 630 nm for CAS assay.

4 °C refrigerator, -20 °C freezer and -80 °C freezer.

Fume hood for acid/volatile reagent preparation.

Drying oven, timers, tube racks, magnetic stirrer/hotplate and stir bars.

DI/ultrapure water supply.

## Specialized equipment or shared-facility access

LC-MS/MS (or another validated targeted method) for specific DMA quantification.

Scheibler, Bernard or pressure calcimeter for soil carbonate.

Validated N2O gas analyser, commonly GC-based, for the denitrification assay; the supplied SOP does not specify the detector.

Gas rig, appropriate regulators, cylinders/gas bags and trained gas-handling setup for helium and acetylene.

ICP-OES or ICP-MS for citrate-dithionite, citrate-ascorbate and ammonium-oxalate extracts where the host method uses ICP.

N2-capable glovebox only if the host lab confirms use of the supplied citrate-dithionite workflow.

Desiccator for the source ammonium-oxalate pretreatment.

Muffle furnace capable of approximately 450 °C if pre-combusted GF/F filters are prepared in-house.

## General consumables

15 and 50 mL centrifuge tubes; low-binding microcentrifuge tubes for metabolite aliquots.

Pipette tips, serological pipettes, syringes and appropriate syringe filters.

Disposable or glass cuvettes suitable for 520, 540 and 562 nm.

Clear 96-well microplates for CAS assay.

Labels, waterproof markers, Parafilm, aluminum foil, weigh boats/paper, Kimwipes and bench paper.

Acid-washed glassware where required.

0.22 µm syringe filters; Whatman #1 filters; GF/F filters where specified.

PPE: lab coat, suitable gloves, safety glasses/splash goggles, plus task-specific PPE from the local risk assessment.

# 4. Protocol A - Wheat root-exudate collection for DMA

## Purpose

Collect wheat root exudates under standardized conditions for targeted DMA analysis and, from a separate aliquot, broad Fe-chelating activity.

## Required tools and components

Clean polypropylene collection vessels sized for the root system.

Low-ionic-strength collection solution: 0.2 mM CaCl2 is a practical starting condition for pilot work.

Ultrapure water.

Centrifuge and/or validated low-binding filtration setup.

Low-binding aliquot tubes and -80 °C storage.

Analytical balance and root-drying setup if results will be normalized to dry root mass.

pH meter or microelectrode.

Authentic DMA standard for targeted quantification.

Access to a validated LC-MS/MS method or equivalent targeted platform.

## Sampling standardization

Use plants at the same developmental stage.

Collect at the same time of day; phytosiderophore release is strongly time-dependent in grasses.

Define the physiological state before sampling: during waterlogging, immediately after drainage or at a fixed recovery time.

Use the same collection duration, solution volume, temperature and light conditions across treatments.

Include a plant-free procedural blank processed in the same collection vessel.

## Procedure

1. Prepare fresh 0.2 mM CaCl2 collection solution and pre-label all vessels.

2. Remove the root system as gently as possible. Avoid squeezing, scraping or prolonged exposure of waterlogged roots to air before the standardized collection begins.

3. Remove loose bulk soil. Rinse roots briefly with ultrapure water to remove remaining particles, followed by a brief rinse with collection solution.

4. Transfer the intact root system into a known volume of collection solution. Use only enough solution to immerse the roots and record the exact volume.

5. Collect exudates for 1-2 h under standardized conditions. Pilot both 1 h and 2 h in waterlogged plants before fixing the final protocol.

6. At the end of collection, remove roots and record root fresh mass. If dry-mass normalization is planned, dry and weigh the roots later.

7. Clarify the collection solution immediately by centrifugation and/or validated filtration.

8. Record sample pH where feasible.

9. Split into separate aliquots for targeted DMA, CAS chelation and backup storage.

10. Freeze analytical aliquots promptly at -80 °C. Do not acidify the entire sample unless the downstream analytical method specifically requires it.

## Targeted DMA analysis

Use an authentic DMA calibration series covering the expected sample range.

Include solvent/collection-solution blanks, procedural blanks, pooled QC samples and spike-recovery samples.

Use a stable-isotope-labelled internal standard if available. Otherwise use matrix-matched calibration and spike-recovery checks.

Instrument-specific chromatography, ionization and MS/MS transitions should be supplied and validated by the analytical facility; they are not specified here.

DMA release rate = DMA amount recovered / (root dry mass × collection time)

Report both the measured DMA concentration and the normalized release rate, with the exact normalization basis stated.

## Quality-control points

Time of day and collection duration must be identical among treatments.

Record pH because treatment-induced pH differences can affect chelation chemistry.

Waterlogged roots may leak intracellular solutes. During pilot work, consider a leakage indicator such as collection-solution conductivity.

Root-exudate values measured after excavation represent release under the standardized collection procedure, not necessarily the in situ rhizosphere concentration.

# 5. Protocol B - Total Fe-chelating activity by CAS

## Purpose

Measure broad Fe(III)-chelating activity in root-exudate samples. This is a functional, non-specific assay. It should not be reported as DMA concentration unless a validated DMA calibration is explicitly used.

## Required tools and components

Microplate reader capable of reading near 630 nm.

Clear 96-well microplates.

Micropipettes and tips.

Validated CAS reagent or a validated laboratory CAS kit.

Collection-solution blank.

Authentic DMA standard if results will be expressed as DMA-equivalent chelating activity.

## Classical CAS reagent - literature starting formulation

A commonly used classical CAS/Fe/HDTMA reagent is prepared from Chrome Azurol S, Fe(III) and hexadecyltrimethylammonium bromide (HDTMA/CTAB). Because CAS variants differ in buffer and matrix compatibility, the exact reagent should be validated in the host lab before use with wheat exudates.

Dissolve 60.5 mg Chrome Azurol S in 50 mL water.

Prepare 10 mL Fe(III) solution containing 1 mM FeCl3·6H2O in 10 mM HCl.

Combine the Fe(III) solution with the CAS solution.

Dissolve 72.9 mg HDTMA in 40 mL water and combine under stirring to form the blue Fe-CAS complex.

IMPORTANT - The classical reagent above is a literature starting formulation, not a substitute for local validation. CAS response is sensitive to matrix composition and pH.

## Microplate assay

1. Bring samples and CAS reagent to room temperature.

2. Pipette 100 µL exudate sample into a clear 96-well plate.

3. Add 100 µL validated CAS reagent.

4. Prepare a reference well containing 100 µL collection solution + 100 µL CAS reagent.

5. For colored/turbid samples, prepare a sample-background well without CAS reagent and correct as appropriate.

6. Incubate approximately 20-30 min at room temperature, protected from strong light.

7. Read absorbance at approximately 630 nm.

8. Run technical duplicates or triplicates and include reagent blanks.

CAS response (%) = [(A_reference - A_sample) / A_reference] × 100

If an authentic DMA concentration series is included and behaves linearly in the same matrix, results may be reported as DMA-equivalent Fe-chelating activity. State clearly that other ligands can contribute.

# 6. Protocol C - Soil carbonate by calcimeter

## Purpose

Determine total soil carbonate and report it as % CaCO3 equivalent on an oven-dry soil basis.

## Required tools and components

Scheibler, Bernard or pressure calcimeter with approved reaction vessels.

Analytical balance.

Air-dried, <2 mm sieved soil; representative finely ground subsample if required by the instrument SOP.

Hydrochloric acid at the concentration specified by the local calcimeter/ISO-based SOP.

Analytical-grade CaCO3 standard.

Fume hood, acid-resistant PPE and waste container appropriate for acidic residues.

Oven or independent moisture measurement for dry-basis reporting.

## Principle

CaCO3 + 2 HCl → CaCl2 + H2O + CO2

The volume or pressure of released CO2 is related to the carbonate amount. Because other carbonate minerals also release CO2, the result is usually expressed as CaCO3 equivalent.

## Procedure

1. Air-dry the soil, sieve to <2 mm and homogenize. Prepare a representative subsample.

2. Determine moisture if needed to express the result on an oven-dry basis.

3. Choose sample mass according to expected carbonate and the instrument range; about 0.5-2 g is a practical starting range, but the instrument SOP takes priority.

4. Check the calcimeter for leaks and equilibrate it to room temperature.

5. Run a reagent blank and known CaCO3 standard(s).

6. Weigh the soil accurately into the reaction vessel.

7. Add the specified excess HCl using the instrument's approved procedure and seal the system before reaction measurement.

8. Allow the reaction to proceed until the CO2 volume or pressure reaches a stable endpoint.

9. Record the response and calculate % CaCO3 equivalent from the instrument calibration or approved calculation.

10. Run at least duplicate determinations; use triplicates when duplicate agreement is poor or soil is heterogeneous.

## Calculation framework

n(CO2) = PV / RT

mass CaCO3 equivalent = n(CO2) × 100.09 g mol^-1

% CaCO3 equivalent = [mass CaCO3 equivalent / dry soil mass] × 100

Routine calcimeters are normally used with instrument/standard calibration rather than manual gas-law calculation.

# 7. Protocol D - Potential nitrification assay

## Source basis

Source-derived from the uploaded Potential Nitrification Protocol, which cites Kandeler (1996) and a modification of Berg & Rosswall (1985).

## What it measures

Potential ammonium oxidation under standardized substrate and aeration conditions. Sodium chlorate inhibits nitrite oxidation so that produced nitrite can accumulate. Nitrite is measured colorimetrically at 520 nm.

## Required equipment and consumables

Field-moist soil stored at 4 °C until assay.

Two sets of labeled 50 mL tubes per sample group: incubation/control tubes and clean collection tubes.

Analytical balance, weighing tray, spatula/scoop, ethanol and data sheet.

Orbital/rotary shaker; source protocol specifies 5 h incubation at 25 °C.

Large centrifuge for 50 mL tubes.

Funnels and filter paper.

Glass culture tubes/cuvettes and trays.

UV-Vis spectrophotometer set to 520 nm.

Volumetric flasks/media bottles, hotplate, pH meter, aluminum foil and vortex.

## Reagent preparation

### Ammonium sulfate substrate stock

1.3214 g (NH4)2SO4 to 1.000 L with dH2O = 10 mM stock.

Store at 4 °C; source protocol states no longer than a few months.

### Substrate working solution

Dilute 100 mL of the 10 mM stock to 1.000 L with dH2O = 1 mM.

Store at 4 °C; source protocol states no longer than 2 weeks.

### Sodium chlorate, 1.5 M - prepare day of use

Dissolve 3.9925 g NaClO3 and dilute to 25.0 mL with dH2O.

### KCl, 2 M

Dissolve 149.12 g KCl and dilute to 1.000 L with dH2O. Source protocol stores this at room temperature for up to a few months.

### NH4Cl buffer, approximately 0.19 M, pH 8.5

Dissolve 10 g NH4Cl and dilute to 1.000 L.

Adjust to pH 8.5 using NH4OH to raise pH or H3PO4 to lower pH.

Store at 4 °C for no longer than 1 month according to the source; recheck pH if not measured for several days.

### Color reagent - prepare day of use

Place 150 mL dH2O in an acid-washed 200 mL volumetric flask.

Add 2.0 g sulfanilamide and 0.1 g N-(1-naphthyl)ethylenediamine dihydrochloride (NEDA).

Shield from light. The source protocol uses a 75 °C hotplate to aid dissolution and gentle manual mixing.

Cool to room temperature, then add 20 mL phosphoric acid.

Dilute to a final volume of 200 mL with dH2O. The source notes that the solution should be colorless, not pink.

### Nitrite standards

1000 µg NO2-N mL^-1 stock: dissolve 4.9257 g NaNO2 and dilute to 1.000 L. Store at 4 °C for no longer than 1 month according to the source.

10 µg NO2-N mL^-1 working stock: dilute 5.0 mL stock to 500 mL (or 2.5 mL to 250 mL). The source document does not give a completed storage duration for this working stock; define it in the local SOP.

Calibration standards: 0, 0.2, 0.4, 0.8 and 1.0 µg NO2-N mL^-1. The source prepares these by placing 0, 2, 4, 8 or 10 mL of the 10 µg mL^-1 working stock into 100 mL flasks, adding 20 mL 2 M KCl and diluting to volume.

## Assay procedure

1. Label control, replicate 1 and replicate 2 incubation tubes for each sample.

2. Weigh 5.0 g ± 0.5 g field-moist soil into each 50 mL tube and record the exact mass.

3. Add 20 mL 1 mM ammonium-sulfate working solution and 100 µL 1.5 M sodium chlorate to each tube.

4. Mix briefly and secure caps.

5. Source control treatment: incubate control tubes at -20 °C for 5 h. Source replicate treatment: shake replicate tubes for 5 h to aerate the soils. The source background states 25 °C incubation.

6. Prepare clean collection tubes with funnels/filter paper during incubation.

7. After 5 h, thaw source control tubes at room temperature.

8. Add 5 mL 2 M KCl to all samples and mix briefly.

9. Centrifuge for 2 min at 2000 rpm using the source instrument's low acceleration/deceleration setting ('2').

10. Filter to obtain clear filtrates.

## Photometric analysis

1. Prepare fresh color reagent, pH 8.5 NH4Cl buffer and calibration standards.

2. For each standard, combine 2.5 mL standard + 1.5 mL NH4Cl buffer + 1.0 mL color reagent.

3. Vortex and allow 15 min for color development.

4. Blank the spectrophotometer at 520 nm with the zero standard.

5. Read the remaining standards. The source requires R² > 0.98 before samples are analyzed.

6. For each sample, combine 2.5 mL filtrate + 1.5 mL NH4Cl buffer + 1.0 mL color reagent.

7. Vortex, wait 15 min and read absorbance at 520 nm.

## Calculation and reporting

The uploaded source does not specify the final potential-nitrification rate equation. A general framework is shown below and must be adapted to the locally defined extraction volume, soil-moisture correction and blank/control treatment:

Potential nitrification rate = [(Cincubated - Ccontrol) × Vdefined] / (dry soil mass × 5 h)

State whether the result is expressed as µg NO2-N g^-1 dry soil h^-1 or another unit, and document how Vdefined and dry soil mass were calculated.

IMPORTANT - The source uses a -20 °C 'control'. If this assay is being newly established, validate that control design against the host laboratory's accepted method because freezing can itself alter extractable N pools.

# 8. Protocol E - Potential denitrification assay

## Source basis

Source-derived from the uploaded Potential Denitrification Assay, amended from EPA protocol RSKSOP-310.

## What it measures

Substrate-induced potential denitrification enzyme activity under anoxic conditions. Dextrose and nitrate are supplied as substrates; chloramphenicol is included to suppress new protein synthesis. Acetylene is used to block N2O reduction to N2 so that N2O can accumulate.

## Required equipment, gases and consumables

150 mL glass Wheaton jars with intact lips and no cracks.

Gas-tight caps/septa with minimal previous puncturing.

Pre-evacuated glass gas vials/vacuettes.

Gas-tight syringes and suitable needles; sharps container.

Helium and acetylene gas cylinders, approved regulators, gas rig and gas bags.

Analytical balance, sterile glassware, 1000 mL volumetric flask and media bottle.

Soil drying pans, drying oven and 1000 mL graduated cylinders.

Validated N2O analysis system for collected gas samples; this is required for quantification but is not specified in the uploaded source.

IMPORTANT - Acetylene is extremely flammable. Gas-cylinder and acetylene work must be performed only by trained personnel under the host laboratory's approved gas-handling SOP.

## Solution B - substrate-induced potential enzyme rate

10 mg chloramphenicol.

1443.5 mg KNO3.

8257.0 mg dextrose.

Dissolve in dH2O and adjust to 1.000 L final volume.

Store in a labeled media bottle at 4 °C for no longer than 1 week according to the source protocol.

Approximate derived composition: ~10 mg L^-1 chloramphenicol, ~14.3 mM KNO3 and ~45.8 mM dextrose. These concentrations are calculated from the source masses and are included for checking, not as replacements for the source recipe.

## Sample setup

1. After collection, store soils at 4 °C. The source allows storage for up to 1 week before processing.

2. Prepare two Wheaton jars per soil sample: one assigned to the helium treatment and one to the acetylene treatment.

3. Weigh 25 g ± 0.5 g soil into each jar and record wet soil mass.

4. Cap jars with intact septa and store overnight at incubation temperature (room temperature) in the dark.

## Assay

1. Organize jars, Solution B, gas syringes/needles, gas bags and labeled pre-evacuated gas vials in a fixed sample order matching the data sheet.

2. Add 25 mL Solution B to each jar and close with cap/septum.

3. Using the source gas rig, purge jars with helium for 2 min.

4. Add 20 mL of the assigned gas treatment using the appropriate gas syringe. The source describes helium and acetylene treatments.

5. Shake each jar for 30 s.

6. Immediately collect a 10 mL headspace sample and transfer to the corresponding gas vial. Record the exact collection time.

7. Incubate for 3 h.

8. Exactly 3 h after the initial sample, shake again for 30 s.

9. Immediately collect a second 10 mL headspace sample and transfer to the final-time gas vial.

## Headspace volume and dry-soil normalization from the source

1. Label and pre-weigh an aluminum drying pan.

2. After gas sampling, fill the Wheaton jar with dH2O and record the volume required to fill the jar; the source notes a typical value around 120 mL.

3. Transfer the full jar contents to the pre-weighed drying pan.

4. Dry in the oven to constant dry mass and record the dry soil mass.

## Required analytical completion step

IMPORTANT - The uploaded protocol stops before a quantitative N2O instrument method and rate calculation. Before using this assay, add the host lab's validated N2O calibration, gas-standard range, detector method, headspace/dissolved-gas correction if used, and dry-soil rate calculation. Do not report denitrification rates from this document alone.

# 9. Protocol F - Porewater nitrate + nitrite by V(III)/Griess chemistry

## Source basis

Source-derived from the uploaded PoreWaterSamples_nitrate+nitrite method, adapted from Miranda et al. (2001) and Doane & Horwath (2003).

## Principle

Vanadium(III) in dilute acid reduces nitrate so that nitrate-derived reactive N is captured by Griess reagents to produce a red azo dye. The method reports nitrate + any nitrite already present. Nitrite can be measured separately using the same Griess chemistry without vanadium.

## Required tools and components

UV-Vis spectrophotometer capable of 540 nm.

Semimicro cuvettes with caps.

Micropipettes covering 50-1000 µL.

0.5 M HCl.

Vanadium(III) chloride (VCl3).

Sulfanilamide.

N-(1-naphthyl)ethylenediamine dihydrochloride (NEDA).

Bottle suitable for reagent preparation and freezer storage.

Fume hood for VCl3/HCl handling.

Validated nitrate standards in a matrix appropriate for the samples; standard preparation is not supplied in the source protocol.

## Combined nitrate + nitrite reagent

1. Place approximately 200 mL 0.5 M HCl into a bottle.

2. Weigh approximately 0.5 g VCl3 directly into the acid-containing bottle where practical to minimize material adhering to weigh vessels.

3. Gently mix to dissolve. If undissolved particles remain, the source allows syringe filtration.

4. Add approximately 0.2 g sulfanilamide and 0.01 g NEDA and dissolve.

5. Store frozen for long-term use. The source states that refrigerated reagent remains suitable for about 1-2 weeks because V(III) slowly oxidizes in air.

## Sample:reagent options from the source

Typical natural samples: 0.05 mL sample + 1.0 mL reagent. Source lower quantitation limit ~0.05 mg N L^-1; linear to at least ~5 mg N L^-1.

Higher-sensitivity option: 0.5 mL sample + 0.5 mL reagent. Source lower quantitation limit ~0.01 mg N L^-1; linear through zero to about ~0.75 mg N L^-1.

High organic matter, phosphate or sulfate: source requires at least a 1:8 sample:reagent ratio, for example 0.1 mL sample + ≥0.8 mL reagent.

For high concentrations, use a smaller sample volume, pre-dilution, or larger cuvette/reagent volume as appropriate.

## Color development and reading

1. Mix sample and reagent directly in capped semimicro cuvettes.

2. Invert to mix.

3. At room temperature, allow 6-8 h for full nitrate conversion/color development.

4. The source states that developed color is stable for about 2 days.

5. Read absorbance at 540 nm against the validated reagent blank and calibration.

## Nitrite-only measurement

If nitrite is significant, prepare the corresponding Griess reagent without vanadium and quantify nitrite separately. The combined V(III) method measures nitrate + nitrite, so nitrate alone is obtained only after an appropriate nitrite correction.

Source conversion: 1 mg N L^-1 corresponds to approximately 72 µM NO3^-.

# 10. Protocol G - Fe extraction suite

## General source handling requirements

Include 1-2 extraction blanks to monitor background contamination.

Use fresh soil for DI and 2 M KCl extracts and freeze extracts promptly.

Keep citrate-dithionite, citrate-ascorbate and ammonium-oxalate extracts cold; ammonium oxalate must also be protected from light.

The source states that 0.5 M HCl extracts should be analyzed the same day unless filtered and properly stored.

Use lab coat, nitrile gloves and safety glasses; use the fume hood for HCl work.

Waste disposal and decontamination are not completed in the source SOP and must be supplied locally.

## 10.1 0.5 M HCl extraction and ferrozine assay

### Purpose

Extract operationally defined acid-extractable Fe(II)/Fe pools and quantify Fe(II) colorimetrically with ferrozine; total reducible Fe is measured after hydroxylamine reduction according to the source workflow.

### Required reagents and equipment

0.5 M HCl.

Ferrozine reagent: source recipe 1 g L-1 ferrozine in 50 mM HEPES, adjusted to pH 8.0 ± 0.1; store in amber bottle.

10% (w/w as described in source preparation) hydroxylamine hydrochloride: source makes 25 g to 250 mL with DI water.

Fe(II) standard from ferrous ammonium sulfate and Fe(III) standard from ferric chloride.

50 mL centrifuge tubes, balance, vortex, orbital shaker, centrifuge.

0.22 µm syringe filters when extracts will not be analyzed promptly.

UV-Vis spectrophotometer at 562 nm and disposable cuvettes.

Pipettes for 100 µL and 1-2 mL additions.

### Source reagent preparation

Ferrozine: add 1 g ferrozine and 11.92 g HEPES to ~750 mL DI water, adjust to pH 8.0 ± 0.1 with NaOH, then dilute to 1 L. Protect from light.

Hydroxylamine hydrochloride: dissolve 25 g in DI water and adjust to 250 mL.

0.5 M HCl: the source gives 40 mL concentrated HCl (34-37%) into 960 mL DI water as an approximate preparation. Because commercial HCl molarity varies, prepare 0.5 M HCl from the actual stock concentration according to the bottle certificate/local SOP.

Prepare 20 mM Fe(II) and Fe(III) stock standards in 0.5 M HCl, then prepare the daily calibration range.

IMPORTANT - The source standard preparation is internally inconsistent: it gives a 3 mM preparation but the assay text later uses 0, 0.1, 0.5, 1 and 2 mM. Resolve the intended upper standard before use.

### Extraction

1. Pre-weigh 50 mL centrifuge tubes.

2. Add 1 g dried soil. If field-moist soil is used, determine true dry-soil equivalent and immerse promptly in HCl to minimize Fe(II) oxidation.

3. Add 30 mL 0.5 M HCl.

4. Vortex 2 min at maximum speed, or use the source alternative of vigorous hand shaking for 30 s.

5. Shake at 100 rpm for 24 h.

6. Centrifuge 10 min at 3000 rpm.

7. If analysis will be delayed, filter supernatant through 0.22 µm into a clean labeled tube. If analysis is within 24 h, the source allows decanting without filtration.

### Ferrozine measurement

1. Set spectrophotometer to 562 nm and establish the instrument blank according to the local instrument SOP.

2. For Fe(II): combine 100 µL standard or extract + 100 µL DI water + 2.0 mL ferrozine reagent; mix thoroughly and read when stable.

3. For total hydroxylamine-reducible Fe: combine 100 µL standard or extract + 100 µL hydroxylamine solution + 2.0 mL ferrozine reagent; mix thoroughly and read when stable.

4. Run standard curves before samples. The source requires R² ≥ 0.99.

5. Dilute samples that exceed the validated linear range. The source notes absorbance >1.300 as a trigger for dilution.

6. The source states that the final assay mixture should be near pH 7 for color development.

7. Correct Fe(II) for Fe(III)-related interference using the chosen validated Viollier-style calculation and report Fe(II)/Fe(III) on a dry-soil basis.

## 10.2 Citrate-dithionite extraction

Source purpose: operational 'total Fe' extraction followed by ICP analysis.

IMPORTANT - DO NOT run from this document until the concentration conflict is resolved. The source heading states 0.02 M sodium citrate + 0.0029 M sodium dithionite, while the source recipe states 6 g sodium citrate + 0.5 g sodium dithionite in 30 mL per sample. These differ greatly.

### Source-listed tools and components

Sodium dithionite (sodium hydrosulfite) and sodium citrate.

50 mL centrifuge tubes, racks, balance, Erlenmeyer flask, stir plate/stir bar.

10 mL pipette and tips; source specifically warns not to use its re-pipetter for this solution.

N2-capable glovebox/gas supply as specified by the source SOP.

Orbital shaker and centrifuge.

ICP-OES/ICP-MS access for downstream analysis.

### Source procedure, retained pending recipe reconciliation

1. Weigh 0.5 g oven-dried, ground soil (minimum 35-mesh in the source) into a 50 mL tube.

2. Place soil tubes and required materials in the glovebox.

3. The source flushes the glovebox with N2 before handling sodium dithionite and prepares the extraction solution inside the box.

4. The source recipe states, per sample, 6 g sodium citrate + 0.5 g sodium dithionite + 30 mL DI water.

5. Add 30 mL extraction solution to each tube; cap and shake vigorously for 10-15 s.

6. The source then removes sealed samples and shakes them at 180 rpm for 24 h.

7. Centrifuge 10 min at 3000 rpm; decant into clean labeled tubes and keep cold until ICP analysis.

IMPORTANT - Sodium dithionite is reactive. Follow the host laboratory's SDS, approved risk assessment and established preparation method. Do not improvise the glovebox/gas procedure.

## 10.3 Citrate-ascorbate extraction

Source purpose: operationally 'reducible' poorly crystalline Fe, intended for downstream ICP analysis.

### Reagent

0.2 M sodium citrate + 0.043 M ascorbic acid.

Source 1.5 L preparation: 88.23 g trisodium citrate dihydrate + 11.36 g ascorbic acid, then DI water to a final mass/volume corresponding to 1.5 L as specified by the source.

Verify approximately pH 6 according to the source. Prepare fresh; the source notes that the reagent should be prepared the day of extraction.

### Tools

50 mL centrifuge tubes/racks, balance, vortex, re-pipetter, orbital shaker and centrifuge.

ICP-OES/ICP-MS access for downstream Fe analysis.

### Source procedure

1. Pre-weigh 50 mL tubes.

2. Add 1 g dried soil.

3. The source instructs addition of 45 mL citrate-ascorbate reagent.

4. Vortex 2 min at maximum speed or shake vigorously by hand for 30 s.

5. Shake at about 180 rpm for 24 h.

6. Centrifuge 10 min at 3000 rpm.

7. Decant supernatant into clean labeled tubes and refrigerate until ICP analysis.

IMPORTANT - The source calls the 1 g soil + 45 mL extractant ratio approximately 1:30, but it is 1:45 (w/v). Confirm the intended ratio/volume before experimental use.

## 10.4 Acidified ammonium-oxalate extraction

Source purpose: operational 'chelatable' poorly crystalline Fe/Al and organically complexed Fe/Al.

### Reagent

0.175 M ammonium oxalate + 0.1 M oxalic acid.

Per 1 L source preparation: 24.87 g ammonium oxalate monohydrate + 12.61 g oxalic acid dihydrate.

Add ~800 mL DI water, dissolve, adjust to pH 3.0 ± 0.1 with HCl as needed, then dilute to 1 L.

Store in an amber bottle or otherwise protect from light.

### Tools and consumables

50 mL centrifuge tubes, rack, balance, volumetric flask, beaker, re-pipetter, stirrer.

Aluminum foil for complete light protection.

Desiccator and concentrated HCl only if the source-specific acid-fumigation pretreatment is retained.

Orbital shaker and centrifuge.

ICP-OES/ICP-MS access.

### Source-specific pretreatment

1. Pre-weigh tubes and add 0.5 g dried soil.

2. Add 1 mL DI water to wet the soil.

3. The source places uncapped tubes in a desiccator containing a beaker with 100 mL concentrated HCl and fumigates for at least 6 h.

4. Remove tubes and allow soil to air-dry in the fume hood.

IMPORTANT - Confirm this acid-fumigation step with the host lab before using it for Fe fractionation. It is retained here because it is in the supplied source SOP; it should not be added or omitted silently.

### Extraction

1. Add 30 mL acidified ammonium-oxalate solution to each dried sample.

2. Cap immediately and wrap completely in foil.

3. Shake at 180 rpm for 2 h.

4. Centrifuge 10 min at 3000 rpm.

5. Decant into clean labeled tubes wrapped in foil.

6. Store in the dark; dilute appropriately before ICP if required by the analytical facility.

## 10.5 DI-water extraction for dissolved organic carbon

### Required tools and components

Fresh soil, 50 mL centrifuge tubes, balance and racks.

30 mL DI water per sample.

Orbital shaker, centrifuge and timer.

Acid-washed small Buchner funnels.

Pre-combusted 47 mm GF/F filters; source preparation is 450 °C for 4-6 h.

Clean collection tubes and freezer storage.

### Source procedure

1. Homogenize fresh soil after removing roots, stones and other large non-soil material.

2. The source example weighs 12 g fresh soil, described as 6 g dry-soil equivalent. For your experiment, use measured moisture to determine the true dry-soil equivalent.

3. Add 30 mL DI water, cap and shake vigorously by hand for 30 s.

4. Shake tubes, including blanks, at 100 rpm. The source mentions 1 h and 16 h extraction sets; define which duration belongs to your study before use.

5. Centrifuge 10 min at 3000 rpm.

6. Filter promptly through pre-combusted GF/F into clean tubes.

7. Freeze extracts as soon as possible.

## 10.6 2 M KCl extraction for soil NH4+ and NO3-

### Required tools and components

Fresh soil, pre-weighed labeled specimen cups and clean 50 mL collection tubes.

2 M KCl, 50 mL per sample in the source.

Balance, shaker, centrifuge and timer.

Acid-washed long-stemmed funnels.

Whatman #1 filters pre-rinsed with 2 M KCl.

Freezer storage for filtrates.

### Source procedure

1. Homogenize fresh soil after removing roots, stones and other large material.

2. The source example uses 30 g fresh soil, described as 15 g dry-soil equivalent. Replace this assumption with the measured moisture content of your soil.

3. Add 50 mL 2 M KCl; record masses and shake by hand for 30 s.

4. Shake at 100 rpm for 1 h, including an extraction blank.

5. Centrifuge 10 min at 3000 rpm.

6. Filter through 2 M KCl-rinsed Whatman #1 paper into clean tubes.

7. Freeze extracts until NH4+/NO3- analysis.

# 11. Consolidated reagent and consumable checklist

## Chemicals / standards

CaCl2

Authentic DMA standard

Chrome Azurol S (CAS)

FeCl3·6H2O for CAS/Fe standards

HDTMA/CTAB

HCl

Analytical CaCO3 standard

(NH4)2SO4

NaClO3

KCl

NH4Cl

NH4OH

H3PO4

Sulfanilamide

NEDA

NaNO2

Chloramphenicol

KNO3

Dextrose/glucose

VCl3

Ferrozine

HEPES

Hydroxylamine hydrochloride

NaOH

Ferrous ammonium sulfate

Ferric chloride

Sodium dithionite

Trisodium citrate dihydrate

Ascorbic acid

Ammonium oxalate monohydrate

Oxalic acid dihydrate

## Gases

Helium for denitrification assay purging/treatment.

Acetylene for the source acetylene-block assay.

Nitrogen for the source citrate-dithionite glovebox workflow if retained.

## Frequently used consumables

50 mL centrifuge tubes and racks.

Low-binding microcentrifuge tubes.

Pipette tips and serological pipettes.

Disposable cuvettes / glass culture tubes.

Clear 96-well microplates.

0.22 µm syringe filters and syringes.

GF/F filters and Whatman #1 filters.

Wheaton jars, caps/septa, evacuated gas vials, gas-tight syringes and needles.

Aluminum foil, Parafilm, weigh boats, labels and Kimwipes.

# 12. Minimum set for the two projects

## Adnan - waterlogging × Si × N+S

Root-exudate collection + targeted DMA.

CAS Fe-chelating activity as a complementary broad assay.

Rhizosphere pH and Eh/O2 where feasible.

0.5 M HCl/ferrozine Fe(II) workflow as the first-choice Fe redox assay, after local validation.

Optional nitrate/nitrite and selected microbial functional assays where the hypothesis requires them.

## Amir - compaction × Mn

Soil carbonate and pH characterization before setting Mn doses.

Plant-available/extractable Mn plus root/shoot Mn by ICP-OES/MS.

Potential nitrification and denitrification if N-cycle function is a primary hypothesis.

Porewater nitrate/nitrite where soil solution can be sampled reproducibly.

Fe redox measurements only where they contribute directly to the compaction/redox/Mn mechanism.

# 13. References and source methods

Berg, P. & Rosswall, T. (1985). Ammonium oxidizer numbers, potential and actual oxidation rates in two Swedish arable soils. Biology and Fertility of Soils, 1, 131-140. https://doi.org/10.1007/BF00301780

Kandeler, E. (1996). Potential nitrification. In: Schinner, F., Öhlinger, R., Kandeler, E. & Margesin, R. (eds), Methods in Soil Biology. Springer.

Lovley, D.R. & Phillips, E.J.P. (1986). Organic matter mineralization with reduction of ferric iron in anaerobic sediments. Applied and Environmental Microbiology, 51, 683-689. https://doi.org/10.1128/AEM.51.4.683-689.1986

Viollier, E., Inglett, P.W., Hunter, K., Roychoudhury, A.N. & Van Cappellen, P. (2000). The ferrozine method revisited: Fe(II)/Fe(III) determination in natural waters. Applied Geochemistry, 15, 785-790.

Reyes, I. & Torrent, J. (1997). Citrate-ascorbate as a highly selective extractant for poorly crystalline iron oxides. Soil Science Society of America Journal, 61, 1647-1654.

Harris, D., Horwath, W.R. & van Kessel, C. (2001). Acid fumigation of soils to remove carbonates prior to total organic carbon or carbon-13 isotopic analysis. Soil Science Society of America Journal, 65, 1853-1856.

Schwyn, B. & Neilands, J.B. (1987). Universal chemical assay for the detection and determination of siderophores. Analytical Biochemistry, 160, 47-56. https://doi.org/10.1016/0003-2697(87)90612-9

Tolay, I., Erenoglu, B., Römheld, V., Braun, H.J. & Cakmak, I. (2001). Phytosiderophore release in Aegilops tauschii and Triticum species under zinc and iron deficiencies. Journal of Experimental Botany, 52, 1093-1099. https://doi.org/10.1093/jexbot/52.358.1093

Oburger, E., Gruber, B., Schindlegger, Y., et al. (2014). Root exudation of phytosiderophores from soil-grown wheat. New Phytologist. https://doi.org/10.1111/nph.12868

Vranova, V., Rejsek, K., Skene, K.R. & Formanek, P. (2013). Methods of collection of plant root exudates in relation to plant metabolism and purpose: a review. Journal of Plant Nutrition and Soil Science. https://doi.org/10.1002/jpln.201000360

Sherrod, L.A., Dunn, G., Peterson, G.A. & Kolberg, R.L. (2002). Inorganic carbon analysis by modified pressure-calcimeter method. Soil Science Society of America Journal, 66, 299-305. https://doi.org/10.2136/sssaj2002.2990

Loeppert, R.H. & Suarez, D.L. (1996). Carbonate and gypsum. In: Methods of Soil Analysis, Part 3 - Chemical Methods. Soil Science Society of America.

Miranda, K.M., Espey, M.G. & Wink, D.A. (2001). A rapid, simple spectrophotometric method for simultaneous detection of nitrate and nitrite. Nitric Oxide, 5, 62-71.

Doane, T.A. & Horwath, W.R. (2003). Spectrophotometric determination of nitrate with a single reagent. Analytical Letters, 36, 2713-2722.

Philippot, L., Ritz, K., Pandard, P., Hallin, S. & Martin-Laurent, F. (2012). Standardisation of methods in soil microbiology: progress and challenges. FEMS Microbiology Ecology, 82, 1-10.

# 14. Source-document provenance

Potential Denitrification Assay.docx - user-supplied source protocol.

Potential Nitrification Protocol.docx - user-supplied source protocol.

Fe extractions for potential iron reduction SOP 180225.docx - user-supplied source SOP.

PoreWaterSamples_nitrate+nitrite.doc - user-supplied source method.

DMA/CAS and carbonate sections - literature-supported working protocols assembled for project planning and requiring local analytical validation.